## Slide 1
GEMS Validation Plan,
Validation Campaign,
and Pandora Asia Network (PAN)
CK Song (UNIST), Limseok Chang (NIER), and Sang-Woo Kim (SNU)
CEOS Atmospheric Composition Virtual Constellation AC-VC-17 June 08, 2021

## Slide 2
Schemes for GEMS Geophysical Validation
Needs;
Consistency between geophysical parameters derived from GEMS and correlative independent measurements within the error budgets assigned to each data set
Continuous and long term provision of consolidated quality of GEMS products in terms of accuracy and precision for the NIER services and science community
The validation activities should rely on;
    Operational ground-based measurement network
    Intensive field campaigns
    Other satellite products
    Modeling results

## Slide 3
Ground-based Measurement Network
for GEMS Validation
PAN
(by Prof. S.-W. Kim)

## Slide 4
Intensive Field Campaigns for GEMS Products
GMAP I, II (2020~2021)
&
SIJAQ (2022~2023)
(by Dr. Limseok Chang)

## Slide 5
International Collaboration
for GEMS Validation
More than 20 research groups joined in International GEMS validation team !!

## Slide 6
GMAP2020
overview
Seosan domain
Boryeong power plant
Dangjin power plant
Taean
power plant
Daesan petrochemical complex
Seosan
Dangjin
Boryeong
20 km
Seoul
Hong et al., 2021(to be submitted)
NO2 VCD during KORUS-AQ
(5, June, 2016)

## Slide 7
GMAP2020
overview
GMAP inter/intra pixel sites and aircraft

## Slide 8
Preliminary result
Flow chart of Pandora NO2 retrieval
start
raw data
L1B data
Mercury lamp
DOAS
NO2 dSCD
Langley
method
NO2 SCD
AMFG
NO2 VCD
Wavelength cal.
Get SRF

## Slide 9
Preliminary result
The results of Pandora inter-comparison

## Slide 10
Preliminary result
Comparison with GEMS NO2
Seosan-DHJ
Seosan-CC

## Slide 11
Preliminary result
Comparison with GEMS NO2
Seosan Site
Seosan-DM2

## Slide 12
Preliminary result
Comparison of NO2 diurnal variation between GEMS and Pandora (24 Dec. 2020)

## Slide 13
Preliminary result
Comparison of NO2 diurnal variation between GEMS and Pandora (19 Dec. 2020)

## Slide 14
GMAP2021
Plan
GMAP2021 domain (18 Oct.~29 Nov., 2021)
30, March, 2021
10:00 ~ 15:00

## Slide 15
GMAP2021
Plan
Candidate sites
NO2 VCD during KORUS-AQ at 09:00 (9, June, 2016)
NO2 VCD during KORUS-AQ at 15:00 (9, June, 2016)
NIER

## Slide 16
GMAP2021
Plan
NO2 and O3 sonde launching
- Simultaneous observation with Ozone & NO2 Sonde
- Ozone: ElectroChemical Concentration Cell (ECC) Sonde
10 days (twice a day- 10:00, 15:00) during GMAP (Possible to change to summer)
- Development of low-cost NO2 Sonde
- If the development is completed before the GMAP campaign, planned to observe twice a day.
Radiosonde sensor
Ozonesonde sensor
~30 cm
ECC
(UAHuntsville NOAA/ESRL ozonesonde manual)

## Slide 17
GMAP2021
Plan
Participating equipment (interim)
Institute | Equipment
NIER | Pandora 1S: 2 Pandora 2S: 1
 | Ozone sonde (with Kongju and Yonsei Univ.)
Seoul Nat’l Univ. | Pandora 1S: 1
UNIST | Pandora 1S: 1
Yonsei Univ. | Pandora 1S: 1
Univ. of Bremen | Two channel MAX-DOAS: 1 Car-DOAS: 1
KNMI | NO2 sonde
USTC | MAX-DOAS: 1
MPIC | MAX-DOAS: 2
BIRA | MAX-DOAS: 1 Mobile-DOAS:1
NASA | GCAS and Pandora
JAMSTEC | MAX-DOAS:1

## Slide 18
Pan-Asia Partnership for Geospatial Air Pollution Information (PAPGAPI) and Pandora Asia Network (PAN)
The objectives of the PAPGAPI project are to:
integrate and validate GEMS data production with reliable ground monitoring information for better understanding of air pollution, and to improve model simulations of air quality, including its forecasting and warning service
fill the data and information gap in the nation-wide monitoring of air quality
enhance national and regional capacity to undertake the comprehensive analysis of data derived from space and ground networks
promote policy dialogue and enhance the capacity for monitoring and management of air pollution at the regional and global level

## Slide 19
The PAN is a new network of ground-based remote sensing instruments dedicated to validate the scientific products of GEMS as well as low Earth orbit (LEO) satellites.
Pandora monitors air quality and atmospheric composition in the region where it is installed, and it also serves monitoring satellite data quality for whole GEMS and LEO mission durations.
Priorities
  Expanding Pandora stations and Supporting National and International Partners, collaborating with Pandonia Global Network (PGN)
  Supporting satellite (GEMS) validation activities
  Collaborative development of new operational algorithms
  Continued collaboration with AERONET, SONET, SKYNET, KALION,AD-NET.
Pandora Asia Network (PAN) : Overview

## Slide 20
Cambodia
Malaysia
Korea
China
Indonesia
Japan
Mongolia
Philippines
Singapore
Thailand
Vietnam
PAN Data Center
@ ESC/NIER
Data
Mirroring
NRT Data Transfer
+ …
Pandonia Global Network (PGN)
Bilateral project by :
  Science Advisory Group
GEMS Validation, Algorithm development, Local & Regional Air Quality & Impact Studies, etc.
  Operational Group
Supporting Operations & Training of Local Operators
(installation, software, repair, data analysis, etc.)
PAN Annual Meeting
Science Team Meeting
Science workshop
Training school (including GEMS)
Scientific & network issues : discussion and decision
Observatory Meeting
Training site operator/manager
Status and progress report
Data collection & status
Pandora Asia Network (PAN) : Operational Structure (Planned)
Nepal
India
Bhutan

## Slide 21
PAN Science Advisory Group (PSAG)
  PSAG co-chairs: James Crawford, NASA Langley
  Sang-Woo Kim, Seoul National University
Current PSAG membership reflects atmospheric chemistry experts from each participating country
Identified through their international reputation
Most are active with the International Global Atmospheric Chemistry (IGAC) project and its various activities such as the Monsoon Asia and Oceania Networking Group (MANGO) and Atmospheric Chemistry and the Asian Monsoon (ACAM)
As they become identified, Pandora site operators will be invited to join the PSAG.
PSAG membership will evolve as needed to benefit international collaboration and sharing of best practices.
Notes: Introduce the current PSAG membership and how they were selected.
PSAG membership will include operators and evolve as needed to benefit international collaboration and sharing of best practices.
Introduce Thai scientists to discuss site selections.

## Slide 22
Pandora Asia Network (PAN) : Site Characteristics
Various Environment
Urban
Rural
Background
Platform
Pandora only
Comprehensive Platform
Pandora
Multiple instruments
(in-suit & remote sensing)
Conventional air quality monitoring station
Weather station
* Specific recommendations for instrumentations will be made.

## Slide 23
Pandora integration into the larger network of observations
Thailand
Mongolia
Indonesia
Courtesy of Jim Crawford (NASA)
Courtesy of Prof. Puji Lestari
Notes: It is important that the Pandora Asia Network sites be evaluated to provide the best science opportunities for Thailand.
On left, there are three priority locations for Pandora sites: Bangkok, Chiang Mai in the north, and Hat Yai in the south.
Are these good locations?
A map of PCD monitors (center) shows a higher density of monitors in the three locations, which is favorable for linking satellite observations to the perspective from the ground.
A map of other relevant science sites (on the right) includes AERONET sunphotometers, lidars, and a research tower in Bangkok. These sites also support the three Pandora locations as a good choice.

## Slide 24
Thank you for your listening.