## Slide 1: AC-VC-20 CINDI-3 Intercalibration and Certification Campaign
Michel Van Roozendael, BIRA-IASB,
Presented by Tijl Verhoelst
Agenda Item 2.11
AC-VC-20
15-18 October 2024
College Park, MD, USA

## Slide 2: CINDI-3 (May 21 – June 21, 2024)
Additional species: CHOCHO and HONO
The Third Cabauw INtercomparison of DOAS-like Instruments (CINDI-3)
Semi-blind intercalibration and intercomparison campaign with external referee
to intercalibrate instruments and assess mutual consistency of measurements
to get NDACC and ACTRIS-CREGARS certification for new instruments
to assess and improve FRM maturity for validation of CEOS Air Quality and Ozone satellite constellations
Observation protocol
CV-24-01

## Slide 3
Cabauw, The Netherlands
UV-Vis intercalibration campaign organized as part of NDACC and ACTRIS CREGARS topical center, with additional ESA support.
Overview
35+ UV-VIS MAX-DOAS instruments intercompared, from 16 countries
60+ instruments deployed
100+ participants
FRM4DOAS central processing applied to 50% of participating instruments
Airborne deployment for NO2 mapping and profiling
Data analysis in progress
CINDI-3 (May 21 – June 21, 2024)
CV-24-01

## Slide 4: Overview
35+ UV-Vis DOAS instruments of (MAX)DOAS, SAOZ and Pandora types intercompared for NO2, HCHO, O4, O4, CHOCHO, HONO, BrO and O3 slant column measurements
In-field calibration setup by Luftblick/NASA applied to all UV-Vis instruments
Interactive semi-blind data evaluation with daily briefs
Comprehensive set of ancillary measurements: aerosol and tropospheric O3 lidars, Brewer and aerosol sunphotometers, NO2 and O3 sondes, in-situ instruments, long-path DOAS, etc.
Mobile measurement setup for NO2 (carDOAS) and aerosols (MAMS)
Airborne mapping and vertical profiling of NO2 in Cabauw and Rotterdam area using Belgian coast-guard research aircraft (operator RBINS)
Post-campaign data analysis in progress

## Slide 5
Regression analysis against median values from all measurements
Data evaluation in progress
CV-24-01

## Slide 6: CEOS-FRM test cases
CEOS-FRM maturity assessment framework elaborated by WGCV, presented last year at AC-VC-19/ACSG in Brussels
FRM4DOAS pilot (test case by M. Van Roozendael)
  ESA project tailoring MAX-DOAS measurements to satellite validation needs
  Scattered UV-visible sunlight, central processing, archival NDACC DHF
  NO2, O3, HCHO, BrO, OClO, SO2…
PGN pilot (test case by S. Casadio)
  Pandonia Global Network, sponsored by ESA, NASA, PGN-Asia…
  Pandora development and analysis LuftBlick
  Direct Sun, total columns, central processing, archival PGN
  Started with NO2, expanding to HCHO, O3 and SO2, later lunar NO3
CV-23-01

## Slide 7: Conclusion
CINDI-3 campaign successful
Data analysis in progress in several WGs, series of campaign-based papers planned
FRM4DOAS maturity assessment by Van Roozendael et al. (as well as FRM4GHG by M.K. Sha) submitted to Remote Sensing SI ‘Copernicus Sentinels Missions Calibration, Validation, FRM and Innovation Approaches in Satellite-Data Quality Assessment’
NDACC Symposium 2025 Celebrating 35th Anniversary of the Network, Virginia Beach, VA, USA, end October 2025 (TBC)

## Slide 8
Thank you !