## Slide 1
Optical, microphysical and compositional properties of the Eyjafjallajökull volcanic ash.
Adriana Rocha Lima
Advisor: Prof. J. Vanderlei Martins
Collaborators: Nickolay Krotkov (NASA-Goddard), Lorraine Remer (UMBC), Manfredo Tabacniks and Paulo Artaxo ( University of Sao Paulo).
ACC Meeting - June 4th 2014
e-mail: limadri1@umbc.edu

## Slide 2
Topics
Scientific Motivation and Overview.
General Picture and Methodology.
Volcanic Ash from Eyjafjallajökull eruption:
- SEM
- grain density
- absorption measurements
-refractive Index
-composition
Final Considerations
2/16

## Slide 3
Eyjafjallajökul (Iceland) Volcano
Puyehue (Chile) Volcano
Dust Desert Chile
Dust UMBC
Objective: Understand the physical mechanisms of absorption and scattering of light by different types of aerosol particles.
Motivation: Aerosol optical properties are important for:
Remote sensing retrievals
Atmospheric and climate models.
Research goals
3/16

## Slide 4
Aerosol properties
4/16
  Size(r) and shape (sphere, spheroid, …)
  Mass absorption efficiency (a)
  Complex Refractive Index m = n + ik.
Incident light
Absorption
Refracted light
Measured
Retrieved

## Slide 5
Volcanic eruption
Samples are size selected by sieving to diameter <45um.
Thanks to Dr. Ulrich Schumann and Dr. Nickolay A. Krokov.
Eyjafjallajökull “Island mountain glacier” .
Most recent eruptions: March and April in 2010.
5/16

## Slide 6
Measurements
6/16
In the lab
Aerosol re-suspension generator:
Gravimetric analysis and Density
a) Pressure and volume of the gas.
Inside the bed chamber: with bronze beads (reddish) and volcano ash in grey.
Validation:
Element | Measured Density (g/cm3) | Expected value (g/cm3)
Salt | 2.33 | 2.17
Sugar | 1.64 | 1.57
H2O | 1.16 | 1.0

## Slide 7
Measurements
7/16
In the lab
Fine Filters
Reflectance
Scanning Electron Microscope
Spectral Reflectance (300-2400nm)
Size, area and volume distribution

## Slide 8
Derivation
Empirical power law coefficient to the Lambert-Beer’s Law function:
Distribution and efficiency of each particles
Amount of aerosol per area
Attenuation of light
Number, area, volume and density of the aerosol particles
By Martins et al, 2008.
Efficiency (r, m,l, shape ….)
8/16
Imag. Ref. index

## Slide 9
Derivation
Imag. Ref. index
(Bukowiecki et al, 2011, Shumann et al, 2011)  0.003i -0.005i, 0.004i (780nm, 632nm).
(Rauthe-Schoch, 2012)  1.54 – 0.003i (830 nm).
(Newman, 2011) 0.0015i (coarse mode) and 0.00i (fine mode) – (UV – visible).
On the literature:
9/16

## Slide 10
Other volcanoes
By N. Krotkov
10/16
Eyjafjallajökull (Iceland)

## Slide 11
Results
Particles’ shape
Aspect Ratio Distribution
Imaginary Refractive Index
(ACPD - A. Rocha-Lima et al., 2014)
11/16

## Slide 12
Other aerosols
Imaginary Ref. Index
Mass Abs. Efficiency
Volcanic Ash Eyjafjallajökull (Iceland)
Ash was collected on the ground, about 35 km from the center of the eruption of the volcano.
Mineral Hematite
Fe2O3 – Sample commercialized by Powder Technology INC.
Saharan Dust
Sample collected on Bordj Badj Mokthar in Algeria (Supersite 1) during Fennec campaign in June 2011.

## Slide 13
Composition
EDXRF analyses – Volcanic ash
(ACPD - A. Rocha-Lima et al., 2014)
13/16

## Slide 14
Final notes
  Mass absorption Efficiency and Imaginary Refractive Index were derived for different types of aerosols.
  Comparatively to other volcanic ashes, our imaginary refractive index in UV has the same order of magnitude of previous laboratory measurements for Mount Spurr volcano (Krotkov et al., 1999). However, our results have smaller imaginary refractive index than Mount St. Helens and Fuego ashes measured in the 80’s (Patterson et al., 1981, 1983).
14/16

## Slide 15
Final notes
  Differences in optical properties and in the composition were found between fine and coarse fraction of the Eyjafjallajökull volcanic ash.
  Assuming spherical or spheroid particle shapes in calculations of the mass absorption efficiency, both yield similar imaginary refractive indices for fine particles.
15/16

## Slide 16
Thank you!