## Slide 1: A 41 Year Record of Total Column Ozone derived from the SBUV Series of Instruments
R. McPeters, P.K. Bhartia, S. Frith and G. Labow
NASA / Goddard Space Flight Center
CEOS Atmospheric Composition Constellation Meeting
Columbia, Maryland June 21, 2011

## Slide 2
A series of Backscatter Ultraviolet instruments have been measuring ozone since 1970. (The red dashed segments indicate periods when instruments are near the terminator as a result of orbit drift.)

## Slide 3
How do you create a long term ozone time series
from multiple satellite instruments?
previous approach: Merged / Adjusted Ozone Time Series
Start with ozone time series as produced by instrument teams
Make simple adjustments to account for instrument-to-instrument
calibration offsets:
two strategies have been used:
  use ground based data (Dobson / Brewer) to adjust satellite data …..or
  use overlap periods + proxy data to produce a purely satellite-based time series (the MOD approach)

## Slide 4
MOD = Merged Ozone Data
Average total column ozone 65°S - 65°N
Notes: Attribute to Stacey & Rich
<number>

## Slide 5
Plot % deviation from 1979 – 1980 monthly average
Notes: <number>

## Slide 6
Ozone today is ~3% lower than in 1979/1980
Notes: 3% decrease since mid-1980s
5% to 6% for years after eruption of Mt. Pinatubo in 1992
<number>

## Slide 7
A Better approach:
Re-process Ozone Data (version 8.6)
Calibration errors propagate non-linearly to ozone
  error varies with latitude / solar zenith angle
Goal is a coherent calibration for the series of 8 instruments
  adjust radiances based on overlap / proxy comparisons
  determine time dependent adjustments based on internal instrument calibration data
Notes: Effect larger on profile than on total column
<number>

## Slide 8
A Better approach:
Re-process Ozone Data (version 8.6)
Calibration errors propagate non-linearly to ozone
  error varies with latitude / solar zenith angle
Goal is a coherent calibration for the series of 8 instruments
  adjust radiances based on overlap / proxy comparisons
  determine time dependent adjustments based on internal instrument calibration data
Re-process data from all 8 instruments
  use v8.0 algorithm: total = integrated profile
  use more accurate ozone cross sections (Brion-Daumont- Malicet)
  updated cloud height climatology based on OMI
  updated ozone profile climatology based on Aura MLS
Notes: PK is working in a vsn 9.0 algorithm
UV penetrates further than IR
<number>

## Slide 9
Global average ozone for v8.6 reprocessing
Notes: Same plot as for the MOD data This is a preliminary processing
Consistency of the different instruments better than 1% in total ozone
Now see ~4% decrease in ozone
<number>

## Slide 10
Ozone decreases ~4% in upper stratosphere and ~2% in the middle stratosphere
Ozone decreases about half a percent in total column
Trends should not be affected!
Effect of cross section change on SBUV retrievals

## Slide 11
The v8.6 processing is designed to produce an accurate time series of both total ozone and the ozone vertical dastribution.

## Slide 12: Quality Control: accuracy of the v8.6 time series
Compare with ground networks
  Compare SBUV integrated profile column with ground-based measurements
  30 Dobson stations have data for the entire 41 year record
  ECC sondes measure partial column ( ground to ~30 km)
Notes: Make the point that the integrated column is intrinsically more accurate than the TOMS retrieval:
Uses wavelengths (<310 nm) that are more sensitive to ozone (317 / 331 nm)
2) Profile shape effect is included (important for high SZA retrievals)
<number>

## Slide 13
Pinatubo
Possible trend of ~2% over 40 years
Notes: Trend mostly 1979-1985 when the Dobson accuracy is most uncertain
<number>

## Slide 14
The historical data record for Hohenpeissenberg has been re-analyzed for long term stability .
Does not indicate an SBUV decrease

## Slide 15
Similar data from Arosa, a high quality station only ~100 km away, shows a decrease from 1980 to 1988.
Notes: Conclusion: Dobson comparisons are not definitive for the 40 year record.
<number>

## Slide 16
Tropospheric column ozone (below 101 hPa, 50°S to 50°N) agrees with ECC sonde average to within ten percent with no sign of long term change over the last 20 years.
Notes: Early uncertainty due to small number of sondes - better agreement since the start of SHADOZ network
there could be a 5% trend ???
<number>

## Slide 17: Quality Control: accuracy of the v8.6 time series (continued)
Compare with ground networks
  30 Dobson stations have data for the entire 41 year record
  ECC sondes measure partial column ( ground to ~30 km)
Internal consistency
  Equatorial ozone is assumed to have a very small trend over this period
  During overlap periods instruments consistent to better than 1%

## Slide 18
The trend in equatorial ozone is near zero
Notes: Calibration was not constrained to produce constant equatorial ozone
Climatology based on SAGE II & balloon sondes
Agreement within 1%
<number>

## Slide 19
Where there is good data overlap, multiple instruments (NOAA 16, 17, & 18)
agree to within ~1%

## Slide 20
Disagreements largest for NOAA 9 and 11

## Slide 21: Quality Control: accuracy of the v8.6 time series
Compare with ground networks
  30 Dobson stations have data for the entire 41 year record
  ECC sondes measure partial column ( ground to ~30 km)
Internal consistency
  During overlap periods instruments are consistent to better than 1%
  Equatorial ozone is assumed to have a very small trend over this period
Compare with other satellite time series
  SAGE & MLS don’t measure entire profile – compare stratospheric column only

## Slide 22
Stratospheric column ozone (above 101 hPa, global average) agrees with MLS to better than 1% but with a 2% absolute offset
Notes: Agreement is ~ half a percent
<number>

## Slide 23
A similar plot for SAGE is noisier because of low sampling, but agreement is within 2% with a 3% absolute offset. There is possibly a 1% relative trend over 20 years.

## Slide 24: Conclusions
A coherent, trend-quality 41-year ozone time series has been produced
  Global ozone: 4% decrease since 1979/1980
  Equatorial zone: no significant trends
  At 45°N: -4.4% trend in total column ozone
The accuracy of the SBUV time series appears to be better than that of the ground network normally used for validation
Column ozone above 101 hPa (global average) is consistent with Aura MLS and with SAGE II at the 1% to 2% level (but with an offset)
We plan to release the v8.6 the total ozone time series this summer
  NOAA 16, 17, and 18 and then Nimbus 7 and Nimbus 4
  NOAA 9 and NOAA 11 after more analysis
  Nimbus 7 TOMS, Earth Probe TOMS and OMTO3 this fall
Notes: Preliminary for now
Release in June
<number>