## Slide 1
China Country Report to WGCV#20
CSIRO Marine Research, CSIRO Earth Observation Centre &
Antarctic Cooperative Research Centre, Tasmania, Australia
12 - 14 February 2003
Liu Heguang Jiang Jingshan
Center for Space Science &Applied Research,
Chinese Academy of Sciences

## Slide 4
MULTI-MODE MICROWAVE
REMOTE SENSOR

## Slide 6
MIYUN GROUND RECEIVING STATION

## Slide 7
11.28M S BAND
ANTENNA

## Slide 8
MONITORING AND CONTROLLING HALL

## Slide 9
PAYLOAD MONITORING AND OPERATION HALL

## Slide 10
PAYLOAD APPLICATION CENTER

## Slide 11
南美
好
望
角
马达加斯加
印
度
中国
First time data

## Slide 13
DATA OF ALT
SEA RETURN SIGNAL (50ms averaging)
Return Normal Power
Digital Filter (0～63)

## Slide 17
10x8x11M3
MICROWAVE
ANECHOIC CHAMBER

## Slide 18
Return Signal Simulator

## Slide 19
CALIBRATION OF RAD

## Slide 20
Table 1 Application parameters of M3RS
Instrument
Measurement Parameter
Designed Value
ALT
Accuracy of average sea surface height
10cm (after atmosphere and orbit calibration)
4.5cm (instrument error)
Precision of backscatter coefficient
1dB
Range of SWH
1~20m
Accuracy of SWH
The greater of 0.5m and 10% SWH
Center frequency
13.9GHz
SCAT
Range of wind speed
4~24m/s
Accuracy of wind speed
The greater of 2m/s and 10% wind speed
Range of wind direction
0~360deg
Accuracy of wind direction
Less than 20 degree
Precision of backscatter coefficient
1dB
Range of backscatter coefficient
-40~+20dB
Swath width
350km
Spatial resolution
50km
Polarization
VV, HH
Center frequency
13.9GHz
Incident angle
37deg
RAD
Radiometric precision
1K
Range of brightness temperature
100~330K
Integration time
100ms
Incident angle
40deg
A/D bit
12bit
Table 1 Application parameters of M3RS

## Slide 21
Instrument
System Parameter
Designed Value
ALT
Peak transmit power
58W
Transmit pulse width
24s
Transmit pulse bandwidth
333MHz
Compressed pulse width
3ns
T/R antenna gain
69dBi (two-way)
Antenna 3dB beamwidth
2.6deg
PRF
1.23kHz
Receiver noise figure
5.5dB
Type of tracker
Qusi-maximum likelihood and gravity center
Type of pulse compressor
Full-deramp
Range processor
FFT spectrum analyzer
Output of filter
64
Base bandwidth
1.35MHz
Bandwidth of filter output
42kHz
Sampling rate
2.7MHz
SCAT
Peak transmit power
100W
Antenna gain
69dBi(two-way)
Antenna 3dB beamwidth
2.6deg
Transmit pulse length
0.65ms
PRF
128Hz
Receiver noise temperature
420K
Incident angle
37deg
Scanning mode
Conically scan
Polarization
Dual antenna, VV, HH
Signal bandwidth
50kHz
Precision and range of Doppler tracking
1kHz@-429kHz~+429kHz
RAD
Center frequency (GHz)
6.6
19.35
23.8
37
13.9
RF bandwidth (MHz)
400
800
800
800
400
IF bandwidth (MHz)
200
400
400
400
200
Integration time (ms)
100
Range of brightness temperature
100~330K
Receiver sensitivity
0.26K
0.29K
0.42K
0.43K
0.18K
Antenna beamwidth (deg)
5.3
1.81
1.57
0.94
2.6
Antenna gain (dBi)
29.3
>30
>30
>30
>37
Type of antenna
Offset-feed parabolic reflector
C/o SCAT
Table 2 Key System Parameters of M3RS