## Slide 1: WGCV-Related Activities in the USGS
John Dwyer
USGS/SAIC
WGCV-20 Meeting
CSIRO Marine Laboratories
Hobart, Tasmania, Australia
12-14 February, 2003
U.S. Department of the Interior
U.S. Geological Survey

## Slide 2: IVOS-Related Activities at EDC
Landsat 7 ETM+ Status
Landsat 5 TM Status
EO-1 Mission Status
Landsat Data Continuity Mission
Cross-Calibration
Lunar Calibration

## Slide 3: Landsat 7 ETM+ Operations Status
Mission Operations are nominal
MTF degradation slowing as pre-launch SBRS Models suggested
MTF degradation shows apparent seasonal variation in on-orbit performance
  Better in winter
  Worse in summer

## Slide 4: ETM+ MTF Trending
Along-Scan MTF @ Nyquist vs. Date
0.15
0.20
0.25
0.30
0.35
0.40
0.45
Jun-99
Nov-99
May-00
Nov-00
May-01
Nov-01
May-02
Nov-02
Date
Modulation
Band 1
Band 2
Band 3
Band 4
Band 5
Band 7
Band 8
B8 Model
Spec
B8 Spec

## Slide 5: L5 Thematic Mapper
“Bumper mode” is operational
Bumper delay times show general slowdown in rate of growth or decline
Potential life extended 3 years
Last orbital adjustment performed in November

## Slide 6: Landsat 5 Thematic Mapper
Bumper A Dwell Time
9810
9820
9830
9840
9850
9860
9870
3/25/02
5/4/02
6/13/02
7/23/02
9/1/02
10/11/02
11/20/02
12/30/02
2/8/03
Date
Microseconds
Bumper B Dwell Time
9790
9800
9810
9820
9830
9840
9850
3/25/02
5/4/02
6/13/02
7/23/02
9/1/02
10/11/02
11/20/02
12/30/02
2/8/03
Date
Microseconds
Bumper A Pickoff Delay Time
960
970
980
990
1000
1010
1020
3/25/02
5/4/02
6/13/02
7/23/02
9/1/02
10/11/02
11/20/02
12/30/02
2/8/03
Date
Microseconds
Bumper B Pickoff Delay Time
800
810
820
830
840
850
860
3/25/02
5/4/02
6/13/02
7/23/02
9/1/02
10/11/02
11/20/02
12/30/02
2/8/03
Date
Microseconds
Bumper A Dwell Time
9810
9820
9830
9840
9850
9860
9870
3/25/02
5/4/02
6/13/02
7/23/02
9/1/02
10/11/02
11/20/02
12/30/02
2/8/03
Date
Microseconds
Bumper B Dwell Time
9790
9800
9810
9820
9830
9840
9850
3/25/02
5/4/02
6/13/02
7/23/02
9/1/02
10/11/02
11/20/02
12/30/02
2/8/03
Date
Microseconds
Bumper A Pickoff Delay Time
960
970
980
990
1000
1010
1020
3/25/02
5/4/02
6/13/02
7/23/02
9/1/02
10/11/02
11/20/02
12/30/02
2/8/03
Date
Microseconds
Bumper B Pickoff Delay Time
800
810
820
830
840
850
860
3/25/02
5/4/02
6/13/02
7/23/02
9/1/02
10/11/02
11/20/02
12/30/02
2/8/03
Date
Microseconds

## Slide 7: EO-1 Technology Demonstration
Mission has been extended through May, 2003 and may continue through September, 2003
Hyperion dominates acquisition requests
USGS re-evaluating cost of products from archive

## Slide 8: Cross-Calibration
Two primary methods:
  Absolute: independent observations of well-characterized surfaces
  Relative: simultaneous observation of surface targets (non-vicarious - no ground measurements required)
Importance of concurrency
  ETM+ to ALI: 1 minute apart
  MODIS to AVHRR: morning vs. afternoon overpasses
  Changes in solar irradiation, atmospheric influences
Importance of comparable viewing geometries
  Bidirectional reflectance issues

## Slide 9: Cross Calibration: ALI to ETM+

## Slide 10: Continuity Framework for Radiometric Integrity: Landsat Example
Cross-Cal
TBD
NASA, USGS, CCRS, SDSU, UAz, others
Vicarious
TBD
SVT-EAS
IAS
L-5 IAS
Trending
Spec
Yes
Yes
Yes
Pre-launch
LDCM
EO-1(ALI)
L-7(ETM+)
L-5 (TM)
Continuity
L5 - L7 under-flight
SVT EO-1 investigations
TBD

## Slide 11: Geometric Test Sites
Currently, Landsat program maintains many high-resolution geometric test sites over N. America
LDCM: would like to expand these globally
  Several “sites” per Landsat orbit
  Each site would contain high-resolution images:
    Photoidentiable points well-distributed throughout the image
    Better than 8-m geolocation accuracy (Landsat requirement)
Potential IVOS activity?
  Access to Landsat site info
  Coordinate with other missions

## Slide 12: Commercial Imagery Sources
Joint Agency Commercial Imagery Evaluation (JACIE)
Outgrowth of NASA “data buy” evaluation (Stennis)
  Joint activity between NASA, USGS, NIMA
  Geometric, radiometric, spatial response characterization
Related: update USGS/Reston “camera optics” lab for digital airborne systems

## Slide 13: Lunar Calibration – Why View the Moon?
Only celestial object in appropriate radiance range.
  Photometric properties virtually invariant (< 10-8 / annum)
  Spectrally bland (returned Apollo samples)
  Spatially variegated (currently being characterized)
  Sharp edge with virtually zero field radiance
    MTF/Stray light
  Accessible to spacecraft regardless of orbit
    Requires maneuver for nadir-looking spacecraft
  Useful for half of each month
Future lunar model improvements can be retroactively applied.
Moon can be used as a transfer source between spacecraft

## Slide 14: Lunar Calibration - Current Usage
<footer>
Three spacecraft routinely look at the Moon:
SeaWiFS, EO-1 (Hyperion,ALI), MTI
  (Plus all the geosynchronous instruments that can not avoid it)
SeaWiFS has viewed the moon almost every month for 5 years
  Lunar images are quite small: ~ 6 * 20 pixels
  Imprecision in determining Moon Y size: Independent determination by ROLO team is similar
  Lunar images can be used to see instrument artifacts
Terra Deep Space maneuver scheduled for March 26, with a Lunar calibration look scheduled for April 14

## Slide 15: ALI in-orbit trending: Lunar calibration
Courtesy J. Mendelhall (LL/MIT)