## Slide 1: CEOS Working Group Cal/Val The Infrared/Visible Optical Sensors (IVOS) subgroup
CEOS WGCV 20th Meeting
12 - 14 February 2003
Hobart, Tasmania

## Slide 2: Participants 12th IVOS meeting
Participants:
I. Asanuma NASDA, JPN
N. Fox NPL, UK
E. Lopez-Baeza Univ. Valencia, E
D. Meyer USGS, USA
C. Mutlow RAL, UK
P. Teillet CCRS, CDN
G. Thuillier ONERA, F
H. Schwarzer DLR, D
ESA: S. Delwart, M. Rast, P. Regner (part-time)
Excused: I. Barton (CSIRO, AUS), X. Briottet (ONERA, F), J. Butler (NASA, USA), O. Hagolle (CNES, F), C. Johnson (NIST, USA), K. Thome (OSC, USA), L. Pettersson (NRSC, N), M. Weinreb (NOAA, USA), G. Zibordi (EC-JRC, I).

## Slide 3
1. Welcome and introduction
2. Meeting objectives
3. Minutes and Actions from the 11th Meeting
4. Recommendations to the 19th WGCV meeting in Ottawa 2002
5. Agency/Country reports (will be completed following inputs)
   DLR
   USGS
   RAL/UK
   NASDA
   CCRS
   NPL
   ESA
6. Status of the calibration test sites dossier
7. Reference solar spectral irradiance
8. ENVISAT optical systems Calibration overview
      AATSR
      MERIS
9. MSG optical systems Calibration overview
      GERB
10. ADEOS optical systems Calibration overview
11. IVOS report to CEOS WGCV 2003
12. IVOS membership
13. Any other business
Agenda

## Slide 4: IVOS current focus of objectives
Whilst the previous meetings of IVOS had focussed on the following three major objectives:
  Document on-board calibration systems for key satellite sensors
  Document ground calibration facilities and laboratories
  Document long-term cal/val sites
The last two meetings have addressed more detailed aspects of above issues:
11th Meeting
  Exo-atmospheric irradiance spectrum (documentation and use)
  Instrumented and automated network of field-sites
  Cal/Val documentation and protocols
  In-depth study on solar diffusers
12th Meeting
  Integration of global Validation activities (complementary to WTF)
  Development of a multi-sensor mission planning tool
  Planning - Workshop on inter-sensor calibration

## Slide 5
The Recommendation 1 from the 11th IVOS to WGCV was revisited:
Instrument teams should put exoatmospheric irradiances band-integrated, on www, as tailored to their needs/instruments (single spectrum recommended) and resampled/defined by them. In this context IVOS encourages the use of G. Thuillier’s solar reference spectrum (as submitted to Solar Physics 2002) at highest possible spectral resolution. The source spectrum should be made available on WGCV web-site, possibly with pointers to different space-borne instrument (resampled) spectra.
At 12th IVOS it was concluded that the Publication for the solar irradiance reference would be AGU textbook on the “Reference Spectrum for the Solar Cycle” to be released in February 2003 (currently in print). The solar irradiance profile in the VIS-SWIR range would be identical to the so-called V13c version of the solar irradiance reference published in solar physics in 2002. Several Space Agencies already adhere to this standard, e.g. ESA, NASDA.
Recommendations from 11th Meeting

## Slide 6
RADIOMETRIC MODEL
BASED ON DIFFUSER BRDF
SOLAR IRRADIANCE
BANDPASS
Notes: bandshape used during calibration
bandshap used during radiative transfer propagation
bandshape using for computing absorption features

## Slide 7
Diffuser 1 & 2 BRDF

## Slide 8
Diffuser Aging
Assumption:
  Instrument is stable between two successive orbits
  Frequently used diffuser degrades faster
Comparison
  Ratio of instrument response when viewing both diffusers
  Difference in the ratios from 22nd March – 15th July

## Slide 9
R2: (Not yet forwarded to WGCV officially) For post-launch calibration of visible and near-infrared sensors it is recommended to implement a global instrumented and automated network of test-sites:
Capture radiometric, spectral, spatial, geometric, and temporal characteristics of each test site.
Use standard in-situ measurement protocols for data acquisition by common traceably calibrated instruments and central/identical data processing (transfer radiometers, e.g. 2nd Internat. IR inter-comparison…..).
Emphasize autonomous in situ sensors and wireless telecommunication.
Example for “sensorweb”. Need to link with WTF in view of GIANTS encourage WGCV to consider.
11th Meeting, Recommendations ctd.

## Slide 10: Looking Ahead: Towards Integrated Earth Sensing
Converging Technologies
Things That Think
Interoperable Satellite Sensors
Micro/Nano Sensorwebs
Smart Dust and COTS Dust
Global Virtual Presence

## Slide 11: ISSMAP ProWISE: Prototype Wireless Intelligent Sensorweb Evaluation
The initial prototype test-bed consists of a small sensorweb with 6 nodes and a local hub. Different wireless telecommunication strategies are being examined (MT-2000; GSP-1620). Telepresence is also being investigated.
Sensor measurements include surface spectral radiance, downwelling spectral irradiance, downwelling photosynthetically active radiation, temperature, relative humidity, rainfall, wind direction, wind speed, soil temperature, and soil moisture.
Access and control will be remotely operated and tested from the individual nodes to the Integrated Earth Sensing Workstation (IESW) in Ottawa as well as from the nodes to the hub and then to the IESW.
Remote control of the microsensors will be achieved through embedded systems specifically tailored to the geospatial application being investigated.
Intelligent internode communication is planned for the next phase of ProWISE.

## Slide 12
Global Instrumented and Automated Network of Test Sites (GIANTS)
Advanced test site characterization for vicarious calibration
Standard measurement protocols for data acquisition
Sensorwebs: intelligent networks of sensors and wireless telecommunication
Telepresence and webcasting
  Enable access to teams of world-class scientists and engineers in action
  Remote technical support of instruments
  Lower-cost and wider participation in resource-intensive activities
  Training of highly-qualified personnel
Improved coordination of activities world-wide, innovation through a higher degree of interaction and synergy, and greater awareness of the critical role of calibration

## Slide 13: 11th Meeting, Recommendations ctd.
R3: Define key factors for Calibration and Validation to be documented in Protocols => A coordinating Group/office in view of up-coming (2002) sensors is needed, (specifically for ocean colour-. Important work already carried out has to be recognised, e.g. SIMBIOS/SeaWIFS protocols. IVOS feels this is very important. Shall be considered at the next meeting. In the context of the WGISS, Land Product WG and WGCV/ISPRS Standards Task Force activities
R4: Recommends the in-depth study of the behaviour of onboard diffuser reflection standards and their stability in the space environment (hard radiation). – revised action-12th IVOS re-discussed and issued actions on possibilities of Ground (synchroton) test vs. space deployment (EURECA/ISS etc). Further centralise diffuser characterisation info is strongly recommended. WGCV -Web-sub-page recommended

## Slide 14: 11th Meeting, Recommendations ctd.
Under discussion for future recommendation:
Underflight of MERIS, AATSR, SPOT-5, MODIS/Aqua, Landsat-7ETM+ by CHRIS recommended over desert site such as Railroad valley and Sudan desert site for cross-calibration/ inter-comparison and characterisation campaign.
Extend CEOS dossier and have it supported by either one or several CEOS members (secure funding).
Underflight is currently being viewed as option by Envisat Validation Team
Extension of Dossier to be discussed at WGCV level, but Dossier appears not to be maintained.

## Slide 15: ValDEOS – Integration of the European Infrastructure to validate Earth Observation Data (EOI for Network of excellence to FP 6)
Requirement
- Needed to underpin user confidence in EO data – Operational
services of GMES require reliable Quality Assured Data
- European research effort often centred on specific missions
- Community recognises the need (76 participants indicated interest in initial consultation)
- Opportunity for Europe to take a lead

## Slide 16: Action items 11th Meeting
Action items from the 11th IVOS meeting:
Re-establish membership of the Group and contact NASA, DLR, ISRO, EUMETSAT, China, OSC-Arizona, CSIRO, NOAA, NIST for membership – Most Agencies were contacted - in progress
Set-up IVOS ftp server for exchange of information - Implemented
provide best available 200-2400 nm solar reference spectrum- underway
Plans for the 12th IVOS Meeting
Review Cal/Val activities ongoing at agencies/institutions of CEOS members ongoing
Identify future areas of coordination/cooperation – network of cal/val sites, inter-comparison of satellite sensors
Assess the status of the Cal/Val dossier(s)- no developments
Establish recommendations w.r.t. solar irradiance, Radiative Transfer codes, protocols for calibration and validation- done
Provide input to the WGCV meeting in Ottawa, May 1-3, 2002- done

## Slide 17: Objectives of the 12th IVOS meeting
Review Cal/Val activities ongoing at CEOS member agencies/countries and identify areas of coordination/ cooperation
Consolidate the membership of the Group
Consolidate recommendations to the forthcoming WGCV meeting on the reference solar irradiance and the harmonisation of diffuser calibration.
Discuss the proposal for an IVOS workshop on the inter-comparison of satellite and later also field- and laboratory calibration techniques and facilities.

## Slide 18
Assess the status of the Cal/Val dossier(s)
Address need for cross-calibration of recently launched panoply of sensors and related in-situ Cal/Val programmes (e.g. GCTE, MODLAND, VALERI etc.)
Improve communication of IVOS with community: conferences, www, post-launch cal. data distribution (e.g. news-brief for IVOS, possibly on the web).
Provide input to the 20th WGCV meeting in Hobart
12th IVOS meeting - Objectives ctd.

## Slide 19
Calibration
  In-flight
  Vicarious
Verification
Validation
  Cloud and Water Vapour
  Land Products
  Water Products

## Slide 20
MERIS instrument status
15 Bands
Pixel 300 m

## Slide 22
Effect of Smile on Chlorophyll retrieval

## Slide 23
MERIS Spectral Calibration
Spectral calibration
O2-A
Fraunhofer 395 nm
Fraunhofer 485 nm
Fraunhofer 855 nm
All together

## Slide 24
The Sea Surface Temperature
Gulf of Oman 12µm

## Slide 25: 12th IVOS – Presentations/Discussions ctd.
Focus of Presentations:
Cross calibration of sensors (Meyer, Theillet TM5, ETM+, EO-1(ALI) – issue of geometric calibration)
Sensor stability/drift e.g. SeaWIFS, MERIS
Diffuser Calibration and Moon calibration
Vicarious (in-situ) calibration and validation campaigns, and the proposal for an intelligent sensor network (ISSMAP)
Global instrumented and Automated Network (e.g. GIANTS) – This could be use to bring national and international field activities together.
TRUTHS “in-flight calibration laboratory” with SI traceability, to all other EO optical sensors (Sun, moon and Earth reference targets).

## Slide 26: TRUTHS overview
Satellite based mission to make SI traceable measurements of solar radiation incident on and reflected from the Earth and to transfer its calibration accuracy to other satellite based EO instruments.

## Slide 27: Recommendations
R12-1: Recommendation to discuss and pursue the integration of activities such as MODLAND, VALERI, GIANTS, GCTE and the SPECTRA experiment plan
R12-2: Recommendation for the development of a mission planning tool, which would allow users to predict overpasses for all optical imaging sensors over any vicarious calibration sites enabling inter-comparison of satellite sensors.
R12-3: Recommendation to hold an satellite sensor inter- calibration workshop.

## Slide 28: Conclusions / Outlook
The 12th IVOS meeting showed consolidation of work on recommendations of 11th meeting and detailing issues of site-, method- and protocol integration.
Missions launched in 2002 (Envisat SPOT-V, MSG, ADEOS) provide unique opportunity for collaboration.
IVOS will, in the near future, focus on the co-ordination of sensor cross-calibration and inter-comparison of calibration standards and methods
IVOS still needs strengthening of its membership through participation of major agency- and country representatives.
The next IVOS meeting is planned towards the end of 2003 (place tbd), with one of the primary objectives being the preparation of the sensor inter-comparison workshop in 2004.

## Slide 29
IVOS points out that owing to the recently launched and planned optical sensors there is a lot of aspirations for cross-calibration and inter-validation of data products.
IVOS will also try to encourage a common language/format of calibration and validation protocols. In this context the update and maintenance of the CEOS Cal/Val database on Sites, Instruments and laboratories will be instrumental (this should be discussed with the WGCV/ISPRS standards task force).
IVOS encourages cal/val teams to make available all on-ground characterisation data and in-flight calibration measurements including viewing geometries through the www. The calibration data of vicarious test-sites ought to be also published.
12th IVOS - Observations

## Slide 30
12th IVOS observation to be discussed at 13th IVOS
CEOS IVOS highlights the growth in number of optical satellite sensors, and the diversity of their spectral and spatial characteristics. It notes that these sensors have been deployed, to meet the needs of both scientific and commercial applications and that the near “operational nature” of data provision from such sensors means that increasing reliance is put on the integrity and reliability of EO data, by governments, international agencies and the commercial sector.
It further notes:
that much of this data will soon be the result of, synergistic combination of the products from more than one instrument and often more than one agency.
that difficulties associated with both pre-flight calibration and more importantly “transference into orbit” means that unacceptably large biases between instruments (even on the same platforms) regularly occur requiring significant corrections to be applied.
existing strategies for in-flight calibration can provide good long-term stability but not necessarily absolute accuracy, which is required to establish a reference baseline for long-term climate change studies and to secure such records for future generations.

## Slide 31
It therefore recommends: that CEOS develops a collaborative inter-agency programme/mission to establish a set of SI traceable standard radiometric reference targets viewable by space based EO sensors to unequivocally quantify and remove biases between optical sensors. Such targets would probably include the Moon, Sun and a number of ground sites used by existing missions. Traceability to SI and the assignment and maintenance of a high accuracy radiometric value could be obtained through the support of a dedicated mission (such as TRUTHS), recently proposed to ESA EEOP.
12th IVOS observation to be discussed at 13th IVOS ctd.