## Slide 1: CEOS Working Group Cal/Val The Infrared/Visible Optical Systems (IVOS) subgroup
Report on the 13th IVOS Meeting
13&14 October 2003
Friendship Hotel,
Beijing, China

## Slide 2
Agenda 13th IVOS Meeting
Welcome and introduction
Meeting objectives
Minutes and Actions from the 12th Meeting
Recommendations to the 12th WGCV meeting in Hobart 2003
Agency/Country reports
Status reports on currently operated optical satellite sensors
Large Scale optical sensor calibration inter-comparison
  Radiance/reflectance products
  Calibration approaches
  Vicarious calibration sites and the available data
Planning of IVOS sensor Inter-comparison Workshop in 2004
IVOS report to CEOS WGCV 2004
IVOS membership
Any other business
Close

## Slide 3: Participants 13th IVOS meeting
Participants:
I. Barton (CSIRO, AUS)
N. Fox (NPL, UK)
J. Fraser (NIST, US)
X. Huang (Univ. Shanghai, China)
D. Meyer (USGS, USA)
H. Murakami (JAXA, JPN)
J. Shiue (NASA, US)
J. Tang (SOA, China)
J. Yoe (NOAA, US)
ESA:
S. Delwart
M. Rast
Excused:
X. Briottet (ONERA, F), O. Hagolle (CNES, F), C. Johnson (NIST, USA), C. Mutlow RAL), L. Pettersson (NRSC, N), H. Schwarzer (DLR), K. Thome (OSC, USA), (USA), G. Zibordi (EC-JRC, I).

## Slide 4: IVOS Terms of Reference
1. Promote international and national collaboration in the calibration and validation of all IVOS and, thus, to assist in the improved application of data from satellite sensors;
2. Address all sensors (ground based, airborne, and satellite) for which there is a direct link to the calibration and validation of satellite sensors;
3. Identify and agree on calibration and validation requirements and standard specifications for IVOS;
4. Identify test sites and encourage continuing observations and inter-comparison of data from these sites;
5. Encourage the timely and unencumbered release of data relating to calibration and validation activities including details of pre-launch and in flight parameters; and;
6. Meet at least once each year.

## Slide 5: Objectives of the 13th IVOS meeting
Review Cal/Val activities ongoing at agencies/institutions of CEOS members
Prepare the IVOS Workshop on large scale Optical Sensor Inter-comparison in 2004
Discuss solar diffuser calibration as standard
Discuss Cal/Val news brief for IVOS on new techniques and their standardisation
In-situ sensor networks and diagnostic cal/val sites for large scale optical sensors
Update recommendations and complete for WGCV 21
Identify future areas of coordination/cooperation
Improved communication with community: conferences, www, post-launch cal. data distribution

## Slide 6: Recommendations from the 12th IVOS Meeting
R12-1: Recommendation to discuss and pursue the integration of activities such as MODLAND, VALERI, GIANTS, GCTE and the SPECTRA experiment plan –completed, considering IVOS remit for calibration, refer to inter-comparison experiment, for (level-2) products contact LPV.
R12-2: Recommendation for the development of a mission planning tool, which would allow users to predict overpasses for all optical imaging sensors over any vicarious calibration sites enabling inter-comparison of satellite sensors. –currently under way at ESA
R12-3: Recommendation to hold an satellite sensor inter- calibration workshop. Tentatively planned for early October 2004

## Slide 7: Action items from12th IVOS
S. Delwart to contact TPD (Nl) on their diffuser testing procedures. and lab testing vs. Space deployment. – current tests ongoing
M. Rast to contact NIST on their experience with diffuser deployment and testing. –referred to JPL radiation tests
C. Mutlow to contact B. Kerrige and E.Hilsenrath on diffuser experience for chemistry instruments - reiterated
G. Thullier to provide information on SBUV calibration.
N. Fox to formulate a reference statement for traceability for the CEOS glossary and to check, which standard is to be used against ITS 90 (e.g.) for temperature. completed
N. Fox to contact NIST on their philosophy concerning the use of transfer radiometers and the possible way forward in trying to carry out a “tour of laboratories”.
M. Rast took the action to propose the organisation of a (space-borne)sensor inter-comparison workshop. –workshop approved, details to be decided upon at 13th IVOS
All IVOS members to advise on scope of such a workshop - dto
H. Schwarzer to provide the coordinates for the vicarious calibration test site in Tunisia and to check, if detectors as used in MOS are still being manufactured in Germany/Europe. – technical development in former GDR no longer available
H. Schwarzer to investigate the heritage of the tungsten calibration lamps in MOS- technical development in former GDR no longer available
M. Rast to invite representatives of NASA, NOAA, Eumetsat and ISRO as well as representatives from China to participate in IVOS meetings and activities - ongoing

## Slide 8: 13th IVOS – Presentations/Discussions
Focus of Presentations:
A comprehensive overview was given by the Shanghai Institute of Technical Physics on the Visible and near infrared On-orbit Calibrator of CMRISR in FY-3, China’s Moderate Resolution Imaging Scanning Radiometer including a system presentation of the sensor.
A very detailed overview was given by the Chinese State Oceanic Administration on the two sensors onboard HY-1 satellite, launched in 2002, i.e. the Chinese Ocean Color & Temperature Scanner(COCTS) and the 4-band CCD imager. Particular emphasis was put on the calibration cruise in the southern Chinese Sea for COCTS.
A detailed presentation on JAXA calibration activities, namely the GLI calibration status and cross-calibration over snow fields, as well as solar calibration was given. Also the in-situ Ocean Colours vicarious calibration activities through the US-MOBY buoy were presented.

## Slide 9: 13th IVOS – Presentations/ Discussions ctd.
NIST gave an overview of its new facilities and capabilities. Elements introduced were NIST’s second generation High Accuracy Cryogenic Radiometer, the laser facility SIRCUS for making spectral irradiance and radiance responsivity measurements and a stable narrow-band absolute radiometer. One of the new activites involve tunable integrating sphere light sources based on light-emitting diodes. Also activities in the area of inter-comparison of e.g. sun-photometers, radiometric scales for Ocean Colour, detector- and source based calibrations and solar irradiance measurement apertures were shown. Validation specifically w.r.t. SIMBIOS and the use of MOBY were presented together with NIST’s strategy for future work.
The calibration status of both Landsat-5 and –7, as well as the status of EO-1 (with a focus on HYPERION) was given by the USGS. Further cross calibration efforts between ALI and ETM+ were presented. The post-Landsat-7 LDCM strategy was introduced.

## Slide 10: 13th IVOS – Presentations/ Discussions ctd.
A presentation on diffuser degradation tests carried out by NPL for IVOS, (in support of IVOS’ Recommendation 1) was shown. Further NPL established, in accordance with the request of CEOS Plenary through WGCV for traceability to international standards, a formulation for the thermal infrared. In addition to its general calibration activities NPL introduced its recent change in procedure from a disseminated scale of spectral irradiance and radiance to a new detector based realisation directly linked to a primary standard cryogenic radiometer.
NOAA provided a detailed overview of the Scope, Goals & Methods for NESDIS Cal/Val Activities. The presentation addressed inter-comparisons between NOAA 15, 16 and 17, GOES signal analysis, the AIRS radiosonde validation, inter-satellite calibration for HIRS, and the NPP cal/val strategy.

## Slide 11: 13th IVOS – Presentations/ Discussions ctd.
CSIRO gave an overview of the extensive SST Validation campaign in the Gulf of Carpentaria involving the cross- validation of AVHRR, AATSR, GLI, MODIS and AMSR-E data, an experiment the results of which proved to be excellent. Further CSIRO presented the GODAE High Resolution Sea Surface Temperature – Pilot Project (GHRSST-PP).
ESA gave an overview of the status of the Agency’s calibration activities in the framework of the recently launched satellite sensors, focussing on Envisat and in particular the stability/drift of space deployed diffusers. Also the calibration of SEVIRI on MSG and CHRIS/PROBA was addressed together with an outlook on ESA’s future optical sensor mission candidates.

## Slide 12: Previous Recommendations - ongoing
R1: Since satellite operators and data providers globally use varying solar irradiance profiles for the derivation of radiances and reflectances, IVOS recommends for consistency, to converge to the recently refined solar reference spectrum by G. Thuillier and encourages its use at the highest possible spectral resolution. The source spectrum should be provided also through the WGCV web-site with pointers to different instrument (resampled) spectra. (The Solar Spectral Irradiance from 200 to 2400 nm as Measured by the SOLSPEC Spectrometer from the Atlas and Eureca Missions, Solar Physics 214(1): 1-22; May 2003, by: G. Thuillier; M. Hersé; D. Labs; T. Foujols; W. Peetermans; D. Gillotay; P.C. Simon; H. Mandel)
IVOS further recommends that Instrument teams should post the exo-atmospheric solar irradiances they use with processing/resampling information, in a band-integrated form on www (single spectrum recommended).
R2: For post-launch calibration of visible and near-infrared sensors it is recommended to implement a global instrumented and automated network of testsites:
Capture radiometric, spectral, spatial, geometric, and temporal characteristics of each test site.
Use standard in-situ measurement protocols for data acquisition by common traceably calibrated instruments and central/identical data processing (transfer radiometers, e.g. 2nd Internat. IR intercomp…..).
Emphasize autonomous in situ sensors and wireless telecommunication. (On hold)

## Slide 13: Previous Recommendations ctd.
R3: Define key factors for Calibration and Validation to be documented in Protocols => A coordinating Group/office in view of up-coming (2002) sensors is needed, (See proposed Intercomparison experiment and possibility for cooperation with WTF). Important work already carried out has to be recognised, e.g. SIMBIOS/SeaWIFS protocols. Interface to ISPRS/WGCV needs to be defined. (Information to plenary)
R4: IVOS requests through WGCV that CEOS members support the in-depth study of the behaviour of onboard diffuser reflection standards and their stability in the space environment (hard radiation). The need for this activity is demonstrated by experience with current satellite sensors and the preliminary study carried out by NPL.
Under discussion for future recommendation:
Similarly to the 2nd International Infrared Radiometer Calibration and intercomparison (Miami Campaign) 2001 IVOS proposes e a similar experiment with in-situ spectrometers.
In view of the forthcoming workshop on the Intercomparison of large scale optical sensors an underflight of MERIS, AATSR, SPOT-5, MODIS/Aqua, Landsat-7ETM+ by CHRIS recommended over desert site such as Railroad valley and Sudan desert site for cross-calibration/ inter-comparison and characterisation campaign.(Superseded /solved by planned intercomparison experiment)

## Slide 14: NPL investigation for IVOS on diffuser degradation

## Slide 15
Radiometric Calibration Diffuser ageing
Degradation becomes visible after 50 minutes of exposure
July 02 - May 03

## Slide 16
Rayleigh
Deserts
Sun Glitter
Calibration methods are used operationally at CNES for:
POLDER, VEGETATION 1 & 2, SeaWiFS
Vicarious Calibration

## Slide 17: Spectral Calibration O2 evolution along orbit

## Slide 18
Chlorophyll concentrations before (left) and after (right) smile correction
Smile correction on retrieved Algal Pigment Index 1
Spectral Calibration Smile Correction Validation

## Slide 19: Spectral Calibration applied to surface pressure

## Slide 20: Large-scale Optical Sensor Inter-comparison (LOSI)
Objective:
With a view to the Earth’s changing climate large scale satellite sensors are a critical component for reliable and continuous observations. It is imperative that observations made by the different sensors are stable over time and consistent across sensor systems, enabling synergistic combination of space-borne data from different sources
Goal:
Inter-compare satellite sensor ouputs and instruments used for in-situ data characterisation of the targets at different (product level-) stages on their measurements and inter-changeability.
Experiment:
Inter-compare at sensor radiances between currently deployed optical imaging space-borne sensors over a single, uniform target area. Simultaneous deployment of all in-situ based instruments to characterise target areas.
In a parallel activity normalised products (radiances) as routinely released by the related instrument teams could be made available for inter-comparison and analysis of possible differences.
Subsequently further experiments may be carried out over several sites and could be extended to a number of geophysical variables (level-2 products).

## Slide 21: Large-scale Optical Sensor Inter-comparison (LOSI) ctd.
Procedure:
Raw counts->calibrated at sensor radiances (level 1) -> Geobiophysical variables (level 2) - > global space- and time sampled products (level 3) -> Multi-sensor Level 3 products -> Global Process Models (NWP, DGVM, GCM).
Expected outcomes/Impacts and benefits:
Ensure validity and consistency of measurements and resulting data products and thus reduce uncertainties in continuous monitoring of the biosphere and the assessment of global climate change. This will enable the community to supply reliable information to government policy makers.
Next steps:
One or two lead institutes as initiator of this activity to define scope and participants of the experiment.
Deliverable:
Product database maintained by the lead institute(s), containing all space- and in-situ measurements of the experiment, together with the methodology used to derive results from the different sensors.

## Slide 23: Core Sites WTF Objectives
Establish linkages between test sites and data archives to facilitate improved product access. Promote knowledge assessments and interoperability of earth observation data to address the challenges of the Terrestrial Carbon Observation (TCO) theme.
Foster validation efforts by leveraging infrastructure and protocols developed through existing site activities.
Address science questions suitable for combined field and multi-resolution data.
Encourage the collaboration between validation investigators and existing science networks and programs.
Facilitate validation activities directed at better product knowledge and assessment of the products’ stability and interoperability.
The WGISS Test Environment (WTE), in offering a framework for selected international EO projects to test and develop information systems and services (ISS) would give .

## Slide 24
Synergy between MERIS and AATSR over land: Fire detection

## Slide 25
ENVISAT Imaging Spectrometer
Synergy MERIS SCIAMACHY : Etna (October 2002)

## Slide 26
Envisat User Tools V2 Delivered in Source code for (A)SAR, MERIS, (A)ATSR, Atmospheric Instruments data
  Adapters for importing Envisat/ERS products into COTS
  Capabilities for viewing, analysing, converting products
  Scientific modules for generating new products
  Portable tools accessible from standard platforms
  Fully documented with clear interface specifications
Envisat User Tools
  Free download
Notes: <number>
<footer>
<header>
<date/time>

## Slide 27
Chris/Proba acquisition during
SPARC ‘03

## Slide 28
34 m spatial resolution
Use of CHRIS/PROBA data
Barrax - 20 May 2003

## Slide 30
1st week of October, location tbd., 2.5 to 3 days, 4-5 thematic sessions, 20 – 40 posters
Contributions to be invited by appointed chairpersons:
Keynote on why cross-calibration and inter-comparison between global sensors
Intercomparison methodologies for global scales
Hyperspectral imaging cal. and intercomparison
Intercomparison of satellite derived LSTs
- Inter-comparison of Infrared measurements over the ocean
- Celestial and onboard calibration targets
- Requirements for improvement of pre-launch satellite calibration
- Techniques for Post-launch satellite sensor calibration over land
- Techniques for Post-launch satellite sensor inter-comparison and calibration over ocean
Vicarious Calibration methods without field measurements incl. Clouds
Radiative transfer methods
Workshop on Inter-comparison
of large scale optical sensors

## Slide 31
MSG SEVIRI solar channels

## Slide 32: BACKGROUND
Desert targets X
Sea search areas 
MSG Calibration target location

## Slide 33
Spectral response of the radiometric bands used in the comparion.
SEVIRI ATSR-2 SeaWiFS MERIS VGT
MSG Spectral bands

## Slide 34: TARGET DESCRIPTION
Each target is characterised by 6 state variables p:
3 state variables () of the surface BRF model (Hapke)
Total aerosol amount (TOMS AI, AERONET)
Total column water vapour (ECMWF)
Total column ozone (TOMS)
Each variable is estimated with an associated error p.
MSG Bright desert targets

## Slide 35: TARGET DESCRIPTION
Sea targets are characterised by 4 state variables p with an associated error p. TOA radiance over sea surface is controlled by:
wind speed (ECMWF)
aerosol load (very clear sky climatology from AERONET)
water vapour (ECMWF)
ozone (TOMS)
ocean colour (fixed)
MSG Sea targets
AOT

## Slide 36: SPECTRA - Observing and Modelling Terrestrial Biosphere from Regional to Global Scale
    Fractional vegetation cover
    FAPAR
    Albedo
    LAI
    Leaf chlorophyll content
    Leaf water content
    Foliage temperature
    Soil temperature
    Fractional cover of biomass
Space segment
Field segment
Detailed observations and modelling provide estimates and statistics on biome – specific parameters usable in Global Models
SPECTRA derived parametrisations will enable direct assimilations of large scale sensor radiances in global models
Measurement &
Retrieval
Ecosystem
parametrisation
Assimilation
global scale
Global coverage data

## Slide 37: VNIR/SWIR radiometric calibration: SPECTRA possible design concept
Calibration wheel with 5 positions
Sun entrance
(orbital south)
Sun diffuser
Calibration radiance to instrument
Diffusers :
- nominal
- redundant
- spectral
Based on MERIS heritage
Pointing achievable by agility of platform

## Slide 38
IVOS will also keep to encourage a common language/format of calibration and validation protocols. In this context the update and maintenance of the CEOS Cal/Val database on Sites, Instruments and laboratories will be instrumental (this should be discussed with the WGCV/ISPRS standards task force).
IVOS further encourages cal/val teams to make available all on-ground characterisation data and in-flight calibration measurements including viewing geometries through the www. The calibration data of vicarious test-sites ought to be also published.
A 3rd thermal infra-red radiometer inter-comparison activity in the framework of CEOS is encouraged, given the big success of the 2nd experiment, the Walton Smith campaign.
13th IVOS - Observations

## Slide 39: Conclusions/Outlook 13th Meeting
The 13th IVOS meeting showed consolidation of work on recommendations of 12th meeting and its major objective to address the inter-comparison of spaceborne optical imaging sensors
First results on sensor cal/val of missions launched in 2002 (Envisat, MSG, ADEOS) are now available and were shown.
IVOS will, in the future, focus on the co-ordination of sensor cross-calibration and inter-comparison.
Clearer definitions of the interfaces to the WGCV/ISPRS Taskforce are needed
Despite improvements IVOS still needs strengthening of its membership through participation of major agency- and country representatives.
The next IVOS meeting is planned for October 2004 (place tbd), following the planned Inter-comparison Workshop

## Slide 40
12th IVOS observation to be revisited at 13th IVOS
CEOS IVOS highlights the growth in number of optical satellite sensors, and the diversity of their spectral and spatial characteristics. It notes that these sensors have been deployed, to meet the needs of both scientific and commercial applications and that the near “operational nature” of data provision from such sensors means that increasing reliance is put on the integrity and reliability of EO data, by governments, international agencies and the commercial sector.
It further notes:
that much of this data will soon be the result of, synergistic combination of the products from more than one instrument and often more than one agency.
that difficulties associated with both pre-flight calibration and more importantly “transference into orbit” means that unacceptably large biases between instruments (even on the same platforms) regularly occur requiring significant corrections to be applied.
existing strategies for in-flight calibration can provide good long-term stability but not necessarily absolute accuracy, which is required to establish a reference baseline for long-term climate change studies and to secure such records for future generations.

## Slide 41
It therefore recommends: that CEOS develops a collaborative inter-agency programme/mission to establish a set of SI traceable standard radiometric reference targets viewable by space based EO sensors to unequivocally quantify and remove biases between optical sensors. Such targets would probably include the Moon, Sun and a number of ground sites used by existing missions. Traceability to SI and the assignment and maintenance of a high accuracy radiometric value could be obtained through the support of a dedicated mission (such as TRUTHS).
12th IVOS observation to be discussed at 13th IVOS ctd.