## Slide 1: WGCV-53 Land Surface reflectance updates: AXIC, CMIX, Camera Network (SKYCAM & CAMSIS)
Eric Vermote, NASA/GSFC
Agenda Item 1.8
WGCV-53, Córdoba, Argentina
5th - 8th March 2024

## Slide 2
A Land Climate Data Record
Multi instrument/Multi sensor Science Quality Data Records used to quantify trends and changes
  Emphasis on data consistency – characterization rather than degrading/smoothing the data
https://ltdr.modaps.eosdis.nasa.gov
N18
N19
AVHRR
OLCI/SLSTR

## Slide 3
El Chichon
Pinatubo
Degradation in channel 1
(from Ocean observations)
Channel1/Channel2 ratio
(from Clouds observations)
BRDF CORRECTION
CALIBRATION
ATMOSPHERIC CORRECTION
Land Climate Data Record (Approach)
Needs to address geolocation,calibration, atmospheric/BRDF correction issues

## Slide 4
AVHRR GEOLOCATION
From Franch et al., 2017

## Slide 5
AVHRR CALIBRATION

## Slide 6
AVHRR CALIBRATION

## Slide 7
AVHRR CALIBRATION
Automated monthly VIIRS cross comparison (over BELMANIP sites) with MODIS Aqua from 2012. the stability of both VIIRS and MODIS Aqua is excellent in both red and NIR as shown (+/- 0.5%).
BELMANIP sites

## Slide 8: Methodology for evaluating the performance of surface reflectance
http://mod09val.ltdri.org/cgi-bin/mod09_c005_public_allsites_onecollection.cgi
Subsets of Level 1B data processed using the standard surface reflectance algorithm
Reference data set
Atmospherically corrected TOA reflectances derived from Level 1B subsets
Vector 6S
AERONET measurements
(τaer, H2O, particle distribution
Refractive indices,sphericityeri)
comparison

## Slide 9: quantitative assessment of performances (APU) for MODIS (Collection 5: Fixed ratio blue/red)

## Slide 10: Improving the aerosol retrieval in collection 6 reflected in APU metrics
ratio blue/red derived using MODIS top of the atmosphere corrected with MISR aerosol optical depth

## Slide 11: Landsat8/OLI and Sentinel 2/MSI Surface Reflectance is largely based on MODIS C6 (LaSRC)
Home page: http://modis-sr.ltdri.org
Algorithm reference for L8: Vermote E., Justice C., Claverie M., Franch B., (2016) “Preliminary analysis of the performance of the Landsat 8/OLI land surface reflectance product", Remote Sensing of Environment, 185,46-56.
The MODIS Collection 6 AC algorithm relies on
the use of very accurate (better than 1%) vector radiative transfer modeling of the coupled atmosphere-surface system (6S)
the inversion of key atmospheric parameters
  Aerosols are retrieved from Landsat8/Sentinel 2 images
  Water vapor and ozone from daily MODIS product.

## Slide 12: Evaluation of the performance of Landsat8
The “preliminary” analysis of OLI SR performance in the red band over AERONET is very similar to MODIS Collection 6

## Slide 13: This is confirmed by comparison with MODIS

## Slide 14: LaSRC APU results on ACIX-II
LANDSAT 8
Sentinel 2
LANDSAT 8
Sentinel 2

## Slide 15
Li, Z., Roy, D. P., Zhang, H. K., Vermote, E. F., & Huang, H. (2019). Evaluation of Landsat-8 and Sentinel-2A aerosol optical depth retrievals across Chinese cities and implications for medium spatial resolution urban aerosol monitoring. Remote sensing, 11(2), 122.
Performances on AOD retrieval over urban environment

## Slide 16: LaSRC Prototype for S3-OLCI – First results
OLCI TOA Reflectance (RGB)
OLCI LaSRC Surface Reflectance (RGB)

## Slide 17: LaSRC Prototype for S3-OLCI – First results
Comparison over BELMANIP2 sites for August 2020

## Slide 18
Sentinel 3 LaSRC-SR versus Terra (APU) Aug 2020

## Slide 19: Cloud validation: SkyCam
Ground-based skycam
  For objective validation of satellite-derived cloud masks
  Proof of concept: manual iphone with fisheye lens over NASA GSFC
  Current version: automatic, enabling replication over multiple sites
  Part of validation dataset within CEOS CMIX-1 (Cloud Masking Inter-comparison Exercise)

## Slide 20
12 cm
20 cm
7.5 cm
Self-contained system:
  RGB camera
  ~180-degree lens
  Single board computer (Raspberry-Pi)
  Power delivery (POE/Alternatives)
  Weatherproof* enclosure (IP66/IP67)
  Weight ~750g per unit.
SKYCAM System

## Slide 21
Current SKYCAM Sites

## Slide 22
  SKYCAM1 at GSFC Building 33
  Maryland, USA
  SKYCAM2 at U. Sapienza Physics Dept.
  Rome, Italy
  SKYCAM2 at U. Valencia Physics Dept.
  Valencia, Spain
Example of current SKYCAM sites

## Slide 23
  SKYCAM1 at PEA
  Queen Maud, Antarctica
  SKYCAM2 at El Palmar
  Valencia, Spain
  SKYCAM1 at PMOD/WRC
  Davos, Switzerland
Example of current SKYCAM sites

## Slide 24
  SKYCAM Relative Spectral Response1
  Sun Zenith Angle
  SKYCAM estimation vs NREL SPA2
  2US National Renewable Energy Laboratory Solar Position Algorithm
  1Measured at GSFC Code 618 using Digikröm DK240 Monochromator
  and ASD Fieldspec Spectroradiometer
SKYCAM Characterization
SKYCAM Characterization

## Slide 25
SKYCAM Calibration
SKYCAM Calibration (geometric/radiometric)

## Slide 26: From Sky Camera to Satellite Cloud Mask
Classification of cloud/non-cloud
  MLP model based on a database of fully cloudy and cloud-free images
Reprojection to satellite geometry
  Requires cloud height
Refining the cloud mask
Classification: cloud/non-cloud
Automatic projection from skycam geometry to satellite
Refined cloud mask

## Slide 27
SKYCAM USED ROUTINELY IN DATA QUALITY ASSESSMENT

## Slide 28
Data access
LAND SURFACE REFLECTANCE DIRECT VALIDATION

## Slide 29: CAMSIS
CAMSIS system
CAMSIS is installed at a height of 123m
on a TV tower (WLEF) near Park Falls, WI at the Chequamegon National Forest

## Slide 31: Click to edit Master title style

## Slide 32: Click to edit Master title style
First results from CAMSIS on Sentinel 2

## Slide 34: Click to edit Master title style
Applying BRDF correction to CAMSIS (NIR)

## Slide 35
BRDF applied and starting quantitative comparison

## Slide 36
El Palmar Super Site
SKYCAM 2
SKYCAM 1
AERONET
CAMSIS 2 NIR-RG
CAMSIS 2 RGB
CAMSIS 1-2 installed
CAMSIS 1-2 “launch”

## Slide 37
El Palmar Super Site, First CAMSIS Results

## Slide 38: Click to edit Master title style
Conclusions
Surface reflectance (SR) algorithm is mature and pathway toward validation and automated QA is clearly identified.
Algorithm is generic and tied to documented validated radiative transfer code so the accuracy is traceable enabling error budget.
The use of BRDF correction enables easy cross-comparison of different sensors (MODIS,VIIRS,AVHRR, Landsat, Sentinel 2 ,Sentinel 3…).
We are proposing a complete package for Surface reflectance validation at high spatial resolution (Landsat, S2,AERONET,CAMSIS,SKYCAM).

## Slide 39
ACIX-III Land
Atmospheric Correction Inter-comparison eXercise
Status update February 2024
Kevin Alonso I Rhea for ESA-ESRIN
Noelle Cremer I Serco for ESA-ESRIN
Georgia Doxani I Serco for ESA-ESRIN
Ferran Gascon I ESA-ESRIN
Adam Chlus I JPL, California Institute of Technology
Philip Brodrick I JPL, California Institute of Technology
David Thompson I JPL, California Institute of Technology
Philip Townsend I JPL, University of Wisconsin

## Slide 40
Free and open access policy to Earth Observation imagery has stimulated the development and operational use of Atmospheric Correction (AC) processors for generating Bottom-of-Atmosphere (BOA) products
The objective is to point out:
Strengths & Weaknesses
Commonalities & Differences
S
W
C
D
OPEN
ACCESS
WHY?
WHAT?

## Slide 41
HOW?
  Coordinators & Participants
  discussed all the major points and defined the inter-comparison procedure.
  Participants
  applied their AC schemes on a set of test sites keeping the processing parameters constant. The results were submitted for analysis to ACIX coordinators.
Application of the AC processors
Analysis of the results
  Coordinators
  processed the AC results and assessed the inter-comparison metrics. The results presented and discussed with the participants.
Definition of the
inter-comparison protocol

## Slide 42
Atmospheric Correction
Inter-comparison
CMIX-II
Processors over
AQUATIC sites
Cloud Masking
Inter-comparison
Processors over
LAND sites
PRISMA, EnMAP
Sentinel-2, Landsat-8 & PRISMA
Sentinel-2, Landsat-8 & PRISMA
ACIX-III
HOW?

## Slide 43
Philip Brodrick
Adam Chlus
Atmospheric Correction
Inter-comparison
Processors over
LAND sites
Ferran Gascon
Phil Townsend
Georgia Doxani
HOW?
ACIX-III
David Thompson
Jet Propulsion Laboratory
California Institute of Technology
Kevin Alonso
Noelle Cremer
With the support of:

## Slide 44
WHO?
# | Organization/Entity | Processor’s Name
1 | DLR | PACO
2 | University College London | SIAC
3 | VITO | iCOR
4 | MAGELLIUM | MAGAC
5 | Spectral Sciences, Inc. | QUAC
6 |  | FLAASH
7 | NASA Ames Research Center | HECC
8 | JPL | isofit
9 | NASA Ames Research Center | GeoNEX-AC
10 | CAS.CHINA | Hikerliu
11 | RBINS | ACOLITE/DSF
12 | CNR Institute of Methodologies for Environmental Analysis (IMAA) | ImaACor
13 | Naval Research Lab, Washington DC USA | ATREM
Reported RTMs
MODTRAN 4/5/6
LibRadTran
6S
SHARM
IPOL

## Slide 45
HOW?
START
ACIX
Web and FTP interface
END of Test and Submission Phase
END
Results Inter-Comparison & Publishing
Test and Submission Phase
ACIX coordinators
download and pre-process PRISMA and EnMAP data
ACIX participants
access PRISMA and EnMAP data from FTP server
ACIX participants
run their atmospheric correction process themselves
ACIX participants
submit their results and information about the implementation
ACIX coordinators
Retrieve the submitted results and reports
ACIX coordinators
analyse the results and report the inter-comparison outputs
ACIX coordinators
Prepare a synthesis of all the experimental results to be published in the scientific literature
With the support of:

## Slide 46
Input Data PRISMA
PRISMA L1 data: Top-of-Atmosphere Radiance radiometrically corrected and calibrated in physical units (incl. Cloud mask; Sun-glint Mask; Classification Mask; Calibration and characterization data)
All PRISMA Products are in HDF5-EOS format and include HYP data cube + PAN image + metadata

## Slide 47
Input Data EnMAP
EnMAP L1C data: Top-of-Atmosphere Radiance radiometrically corrected, orthorectified and calibrated in physical units (incl. Cloud layer; Cirrus layer; Haze layer; Snow layer; Cloud shadow Layer; Classes layer Pixel mask; Calibration and characterization data)
EnMAP Products are distributed as a .zip file with several .tif files and a set of .xml (including one for the metadata). Ancillary files are the solar irradiance model and a method for calculating the sensor zenith/azimuth angles.

## Slide 48
Quality Layers
Quality flags provided as part of the products defining clearly the appropriate flags to be included in the inter-comparison process.
Ideally, a simple mask to be provided defining only valid and invalid pixels for the AC inter-comparison.
Input
Analysis
The analysis will be made initially for the pixels that are considered of good quality by all AC processors (masks’ union).
(?) Additional inter-comparison investigation may be performed using the corresponding individual quality mask per processor.

## Slide 49
Sites with PRISMA/EnMAP acquisitions
Network | Sites (Number)
RadCalNet | Gobabeb (7), La Crau (1), Railroad Valley Playa (3), Baotou (1)
In situ measurements from EnMAP validation campaign | Gobabeb (4), Railroad Valley Playa (2), Western Australia (3), Australia (2), Israel (2), Nevada (2), Berlin (1)
Hypernets | Gobabeb (6), Barrax (2), ATGE (2)
Aeronet (for WV and AOT comparison only) | 12
Network | Sites (Number)
RadCalNet | Gobabeb (10), La Crau (2), Railroad Valley Playa (5)
In situ measurements from CHIME/SGB campaigns | Braccagni (1), Rio Tinto (1), Camarena (1), SRER (1)
Hypernets | Gobabeb (2), Barrax (3), Wytham Woods (1)
Aeronet (for WV and AOT comparison only) | 19
EnMAP
44 unique
scenes
PRISMA
46 unique scenes

## Slide 50: Method
01. Ground based validation
RadCalNet [La Crau] (France), [Gobabeb] (Namibia), [Railroad Valley Playa] (USA), [Baotou] (China)
If possible, SR at same angular conditions that the satellite.
Hypernets (Land) [Gobabeb], [Barrax], [Wytham Woods], [ATGE]
    02. Campaign Data
    03. Relative SR inter-comparison
Plotting the spectral profiles per AC approach.
ESA CHIME & SBG 2021 campaign and NEON Airborne Observation Platform (AOP).
EnMAP Validation Campaign
Reference BOA retrieved by in-situ measurements.

## Slide 51: Timeline
Start
1st workshop
ESA/ESRIN
(Frascati, Italy)
20-21 June 2022
TBD 2024
Results Submission
May 2024
TBD
Inter-comparison Results
Presentation
2nd workshop
Report Release
to the participants
Report
Submission to Scientific Journal
February 2024
Input Data Distribution
to Participants
Dec 2021
TBD
Invitation to developers