## Slide 1: ISO TC 211 Liaison Report to CEOS WGISS
Liping Di
ISO TC 211/George Mason University
Agenda ID: 2022.10.04_10.40
WGISS-54
Tokyo, Japan (JAXA)
3-7 October 2022

## Slide 2: Executive Summary
Status of ISO TC 211 Standard projects related to CEOS/WGISS
  ISO 19123-1 Geographic information — Schema for coverage geometry and functions — Part 1: Fundamentals
    Passed Draft International Standard vote. Editing Committee Meeting was held in August 2022. Currently in Formal Draft International Standard (FDIS) Stage
  ISO 19124-1 Geographic information – Calibration and Validation of Remote Sensing Data and Derived Products – Part 1: Fundamentals
    Passed the Draft Technical Specification (DTS) vote. Editing Committee meeting will be held in Oct 2022. Will be advanced to TS after editing
  ISO 19159-4 ISO 19159-4 Geographic information — Calibration and validation of remote sensing imagery sensors — Part 4: Space-borne passive microwave radiometers
    At TS stage. To be published soon
Progress on CEOS Analysis Ready Data (ARD) standardization through a joint ISO-OGC effort
  Made progress on setting up an ISO-OGC joint effort
  CEOS ARD Oversight Group has committed to the joint effort.
  Lack of resources to support the work
ISO ISO/TC 211 55th Plenary meeting, Stockholm, Sweden December 5th - December 9th
  Anything does CEOS WGISS want to report to ISO TC 211?

## Slide 3: ISO 19123-1 Schema for coverage geometry and functions — Part 1: Fundamentals
Scope:
  This document defines a conceptual schema for coverages.
  A coverage is a mapping from a spatial, temporal or spatio-temporal domain to attribute values sharing the same type within the domain.
    A coverage domain consists of a collection of direct positions in a coordinate space that can be defined in terms of spatial and/or temporal dimensions.
      Examples of coverages include meshes/grids, triangulated irregular networks, point coverages and polygon coverages.
  Coverages are the prevailing data structures in a number of application areas, such as remote sensing, meteorology and mapping of depth, elevation, soil and vegetation.
  This document defines the relationship between the domain of a coverage and an associated attribute range.
  This document defines the characteristics of the domain; the characteristics of the attribute range are not defined in this document

## Slide 4: Status of ISO 19123-1
DIS vote was completed in May 2022
  DIS version was approved
  239 comments received, majority of them from UK (Roger Lott)
  UK voted no on DIS
    Major concern on the inconsistency on coordinate system between ISO 19111 and ISO 19123-1
An editing committee meeting was held virtually on August 18
  The editing committee went through and make decision on all comments
  Based on the decision on comments, an edited DIS version of ISO 19123-1 was produced at the end of August 2022
  Roger agreed with the edited DIS version
The edited DIS version of ISO 19123-1 was submitted to TC 211 Secretariate
  To be released as FDIS

## Slide 5: ISO 19124-1 Calibration and validation of remote sensing data and derived products – Part 1: Fundamentals
Scope
  The ISO 19124 series is focused on calibration and validation (cal/val) of remote sensing data, which are collected by a sensor onboard a platform in a mission, and products derived in part or whole from the data. The ISO 19124 series will define the metadata related to calibration and validation process that has not been defined in other ISO/211 standards. The metadata allows the data providers to provide standardized description of cal/val process they have applied to the data and the data users to get the same forms of metadata from different data providers.
  Part 1 addresses the overall framework and common calibration and validation processes related to earth observation data and derived products from different types of remote sensors
  Derived products mean the products are not directly measured by sensors but derived from direct sensor measures by algorithms or models

## Slide 6: ISO 19124-1 Status
DTS vote was completed in July 2022
  DTS vote was approved
  50 comments received, majority of them are editorial
  0 ”no” vote was received
An editing committee meeting will be held virtually on October 13, 2022
The edited DTS version of ISO 19124-1 will be submitted to TC 211 Secretariate
  To be published as ISO Technical Specification (TS)

## Slide 7: ISO 19159-4 Calibration and validation of remote sensing imagery sensors and data — Part 4: Space-borne passive microwave radiometers
This is one of a series of technical specification to define the standard on pre-launch Cal/Val of remote sensors
  Part 1: Optical; Part 2: Lidar; Part 3: SAR/InSAR; Part 4: Microwave Radiometers
Scope of Part 4
  This Technical Specification defines the calibration of space-borne microwave radiometers and validation of the calibrated information.
Status of ISO 19159-4
  At TS stage, waiting for publication by ISO

## Slide 8: Progress on Standardization of Analysis-Ready Data (ARD)
CEOS, under the leadership of ARD Oversight Group, has developed a series of ARD product specifications
  Interested in making ARD product specifications international standards through standard bodies.
At OGC disaster pilot 2022, OGC, by working with CEOS, developed a plan to make ARD a joint ISO-OGC standard.
  Set a standard working group (ARD SWG) in OGC to develop ARD standards
  Start an ISO TC 211 project on ARD by submitting a new work item proposal through OGC-ISO JAG
  The ISO TC 211 project team and OGC ARD SWG will have the same group of subject-matter experts
  ARD series of standards will be a multi-part standard, and both OGC and ISO version will be exactly the same
At a CEOS SIT side meeting on September 13, 2022, the CEOS ARD Oversight Group discussed and endorsed the ARD standardization plan

## Slide 9: Progress on ARD standardization
Both OGC ARD SWG charter and ISO New Work Item Proposal have been drafted
OGC TC meeting on October 3-7, 2022 in Singapore
  The charter will be voted, and ARD SWG will be set up
  The NWIP will be discussed and approved by the ISO-OGC Joint Advisory Group (JAG) and submitted to the TC211 secretariate
The NWIP submitted by JAG will be discussed at ISO TC 211 55th Plenary meeting in Stockholm, Sweden
  The NWIP will be voted by TC211 member countries in the following months
Lack of resources to support the work is the key issue

## Slide 10: ISO TC211 55th Plenary meeting, Stockholm, Sweden December 5-9, 2022
Slide 10
Anything does CEOS WGISS want to report to ISO TC 211?
    Please provide input to me before Nov 20, 2022